## (1) Overview
Assay Protocol Name: | EpiTect Kit_MG
Instrument: | VICTOR
Readings: | Endpoint: Absorbance @ 450 (1.0s) [12x8]
Well Types: |  | Unused | Unknown | Blank | Standard
Plate:
Transformations: | Blank Correction (All wells corrected by a common blank group)
Standard Curve Fit (Linear Regression on Standard)

## (2) Standards Graph
Standards Graph

## (3) Fit Results
MSE | 0.047357
R² | 0.0389
SS | 0.23678
SYX | 0.28094
m | 0.0062728
c | 0.089109
Fit Results

## (4)
Groups |  | Wells | Concentrations | Absorbance @ 450 (1.0s)
| Standard1 | H4 | 20 | 0.39227
| Standard2 | H5 | 10 | -0.18684
| Standard3 | H6 | 5 | 0.072048
| Standard4 | H7 | 2 | 0.024367
| Standard5 | H8 | 0.8 | 0.38081
Data Points for Linear Regression on Standard

## (5)
Group |  | Well | Warning
| Standard2 | H5 | The backfit resulted in a negative value (-43.9904) this has been ignored and the result set to a 0 concentration.
| Standard3 | H6 | The backfit resulted in a negative value (-2.71983) this has been ignored and the result set to a 0 concentration.
| Standard4 | H7 | The backfit resulted in a negative value (-10.321) this has been ignored and the result set to a 0 concentration.
| Blank1 | H9 | The backfit resulted in a negative value (-14.2056) this has been ignored and the result set to a 0 concentration.
Concentration Calculation Warnings

## (6) Results Table
Group |  | Wells | ID | Absorbance @ 450 (1.0s) | Absorbance @ 450 (1.0s) blank subtracted | Methyl DNA ng (based on Sam's slope) | Methylation % | Average | Stdev
| Unknown1 | A4 | BB01 | 1.0892 | 0.52689 | 1.8902 | 6.7507 | 5.5048 | 1.4783
| Unknown2 | B4 | BB02 | 0.8547 | 0.29244 | 1.0491 | 3.7468
| Unknown3 | C4 | BB03 | 0.88979 | 0.32752 | 1.175 | 4.1963
| Unknown4 | D4 | BB04 | 1.0854 | 0.52309 | 1.8766 | 6.702
| Unknown5 | E4 | BB05 | 1.1396 | 0.57737 | 2.0713 | 7.3975
| Unknown6 | F4 | BB06 | 0.99574 | 0.43348 | 1.5551 | 5.5539
| Unknown7 | G4 | BB07 | 0.88899 | 0.32673 | 1.1721 | 4.1862 |  |  | BB
| Unknown8 | A5 | DH01 | 1.0287 | 0.46645 | 1.6734 | 5.9763 | 4.4696 | 2.2261 | DH | ANOVA: sig diff between sites, p = 0.05
| Unknown9 | B5 | DH02 | 0.82797 | 0.26571 | 0.95321 | 3.4043 |  |  | SB | Tukey's post hoc: DH sig dif than LC and WB
| Unknown10 | C5 | DH03 | 0.69401 | 0.13175 | 0.47263 | 1.688 |  |  | NB
| Unknown11 | D5 | DH04 | 1.0489 | 0.48659 | 1.7456 | 6.2343 |  |  | LC
| Unknown12 | E5 | DH05 | 1.0965 | 0.53424 | 1.9166 | 6.8449 |  |  | WB
| Unknown13 | F5 | DH06 | 0.99906 | 0.4368 | 1.567 | 5.5964
| Unknown14 | G5 | DH07 | 0.68269 | 0.12043 | 0.43202 | 1.5429
| Unknown15 | A6 | SB01 | 1.0149 | 0.45266 | 1.6239 | 5.7996 | 6.1499 | 1.5658
| Unknown16 | B6 | SB02 | 0.82665 | 0.26439 | 0.94848 | 3.3874
| Unknown17 | C6 | SB03 | 1.0624 | 0.5001 | 1.7941 | 6.4074
| Unknown18 | D6 | SB04 | 1.0031 | 0.44086 | 1.5815 | 5.6484
| Unknown19 | E6 | SB05 | 1.0986 | 0.53631 | 1.924 | 6.8713
| Unknown20 | F6 | SB06 | 1.2349 | 0.67263 | 2.413 | 8.6179
| Unknown21 | G6 | SB07 | 1.0553 | 0.49305 | 1.7688 | 6.3171
| Unknown22 | A7 | NB01 | 1.0767 | 0.51445 | 1.8456 | 6.5913 | 6.6055 | 2.3289
| Unknown23 | B7 | NB02 | 0.93643 | 0.37417 | 1.3423 | 4.794
| Unknown24 | C7 | NB03 | 0.98569 | 0.42342 | 1.519 | 5.425
| Unknown25 | D7 | NB04 | 1.0374 | 0.47514 | 1.7045 | 6.0876
| Unknown26 | E7 | NB05 | 1.0333 | 0.47105 | 1.6899 | 6.0353
| Unknown27 | F7 | NB06 | 0.99772 | 0.43545 | 1.5622 | 5.5792
| Unknown28 | G7 | NB07 | 1.4775 | 0.91523 | 3.2833 | 11.7262
| Unknown29 | A8 | LC01 | 1.315 | 0.75277 | 2.7005 | 9.6447 | 7.8725 | 2.7538
| Unknown30 | B8 | LC02 | 1.0477 | 0.48546 | 1.7416 | 6.2199
| Unknown31 | C8 | LC03 | 1.6021 | 1.0399 | 3.7305 | 13.3231
| Unknown32 | D8 | LC04 | 1.0013 | 0.439 | 1.5749 | 5.6246
| Unknown33 | E8 | LC05 | 1.0892 | 0.52692 | 1.8903 | 6.751
| Unknown34 | F8 | LC06 | 1.0307 | 0.46842 | 1.6804 | 6.0016
| Unknown35 | G8 | LC07 | 1.151 | 0.58871 | 2.112 | 7.5428
| Unknown36 | A9 | WB01 | 1.2968 | 0.73455 | 2.6351 | 9.4112 | 8.5708 | 0.85327
| Unknown37 | B9 | WB02 | 1.1692 | 0.60693 | 2.1773 | 7.7762
| Unknown38 | C9 | WB03 | 1.3393 | 0.77701 | 2.7875 | 9.9553
| Unknown39 | D9 | WB04 | 1.2275 | 0.66521 | 2.3864 | 8.5228
| Unknown40 | E9 | WB05 | 1.1649 | 0.60269 | 2.1621 | 7.7218
| Unknown41 | F9 | WB06 | 1.2379 | 0.67566 | 2.4239 | 8.6568
| Unknown42 | G9 | WB07 | 1.1829 | 0.62062 | 2.2264 | 7.9516
| Standard1 | H4 | 20ng | 0.95453 | 0.39227
| Standard2 | H5 | 10ng | 0.37543 | -0.18684
| Standard3 | H6 | 5ng | 0.63431 | 0.072048
| Standard4 | H7 | 2ng | 0.58663 | 0.024367
| Standard5 | H8 | 0.8ng | 0.94307 | 0.38081
| Blank1 | H9 | blank | 0.56226 | 0

## (7) Plate 1
| 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6
A |  | Unused |  | Unused |  | Unused |  | Unknown1 |  | Unknown8 |  | Unknown15
| --- |  | --- |  | --- |  | 1.0892 |  | 1.0287 |  | 1.0149
| --- |  | --- |  | --- |  | 0.52689 |  | 0.46645 |  | 0.45266
| --- |  | --- |  | --- |  | 69.7906 |  | 60.1554 |  | 57.9557
B |  | Unused |  | Unused |  | Unused |  | Unknown2 |  | Unknown9 |  | Unknown16
| --- |  | --- |  | --- |  | 0.8547 |  | 0.82797 |  | 0.82665
| --- |  | --- |  | --- |  | 0.29244 |  | 0.26571 |  | 0.26439
| --- |  | --- |  | --- |  | 32.4139 |  | 28.1525 |  | 27.9428
C |  | Unused |  | Unused |  | Unused |  | Unknown3 |  | Unknown10 |  | Unknown17
| --- |  | --- |  | --- |  | 0.88979 |  | 0.69401 |  | 1.0624
| --- |  | --- |  | --- |  | 0.32752 |  | 0.13175 |  | 0.5001
| --- |  | --- |  | --- |  | 38.0073 |  | 6.7973 |  | 65.5193
D |  | Unused |  | Unused |  | Unused |  | Unknown4 |  | Unknown11 |  | Unknown18
| --- |  | --- |  | --- |  | 1.0854 |  | 1.0489 |  | 1.0031
| --- |  | --- |  | --- |  | 0.52309 |  | 0.48659 |  | 0.44086
| --- |  | --- |  | --- |  | 69.1844 |  | 63.3655 |  | 56.0745
E |  | Unused |  | Unused |  | Unused |  | Unknown5 |  | Unknown12 |  | Unknown19
| --- |  | --- |  | --- |  | 1.1396 |  | 1.0965 |  | 1.0986
| --- |  | --- |  | --- |  | 0.57737 |  | 0.53424 |  | 0.53631
| --- |  | --- |  | --- |  | 77.838 |  | 70.962 |  | 71.2909
F |  | Unused |  | Unused |  | Unused |  | Unknown6 |  | Unknown13 |  | Unknown20
| --- |  | --- |  | --- |  | 0.99574 |  | 0.99906 |  | 1.2349
| --- |  | --- |  | --- |  | 0.43348 |  | 0.4368 |  | 0.67263
| --- |  | --- |  | --- |  | 54.8988 |  | 55.4276 |  | 93.0228
G |  | Unused |  | Unused |  | Unused |  | Unknown7 |  | Unknown14 |  | Unknown21
| --- |  | --- |  | --- |  | 0.88899 |  | 0.68269 |  | 1.0553
| --- |  | --- |  | --- |  | 0.32673 |  | 0.12043 |  | 0.49305
| --- |  | --- |  | --- |  | 37.8811 |  | 4.9923 |  | 64.3956
H |  | Unused |  | Unused |  | Unused |  | Standard1 |  | Standard2 |  | Standard3
| --- |  | --- |  | --- |  | 0.95453 |  | 0.37543 |  | 0.63431
| --- |  | --- |  | --- |  | 0.39227 |  | -0.18684 |  | 0.072048
| --- |  | --- |  | --- |  | 48.3292 |  | 0 |  | 0
| 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12
A |  | Unknown22 |  | Unknown29 |  | Unknown36 |  | Unused |  | Unused |  | Unused
| 1.0767 |  | 1.315 |  | 1.2968 |  | --- |  | --- |  | ---
| 0.51445 |  | 0.75277 |  | 0.73455 |  | --- |  | --- |  | ---
| 67.8068 |  | 105.799 |  | 102.894 |  | --- |  | --- |  | ---
B |  | Unknown23 |  | Unknown30 |  | Unknown37 |  | Unused |  | Unused |  | Unused
| 0.93643 |  | 1.0477 |  | 1.1692 |  | --- |  | --- |  | ---
| 0.37417 |  | 0.48546 |  | 0.60693 |  | --- |  | --- |  | ---
| 45.4441 |  | 63.1858 |  | 82.5498 |  | --- |  | --- |  | ---
C |  | Unknown24 |  | Unknown31 |  | Unknown38 |  | Unused |  | Unused |  | Unused
| 0.98569 |  | 1.6021 |  | 1.3393 |  | --- |  | --- |  | ---
| 0.42342 |  | 1.0399 |  | 0.77701 |  | --- |  | --- |  | ---
| 53.2955 |  | 151.567 |  | 109.663 |  | --- |  | --- |  | ---
D |  | Unknown25 |  | Unknown32 |  | Unknown39 |  | Unused |  | Unused |  | Unused
| 1.0374 |  | 1.0013 |  | 1.2275 |  | --- |  | --- |  | ---
| 0.47514 |  | 0.439 |  | 0.66521 |  | --- |  | --- |  | ---
| 61.5398 |  | 55.7789 |  | 91.8397 |  | --- |  | --- |  | ---
E |  | Unknown26 |  | Unknown33 |  | Unknown40 |  | Unused |  | Unused |  | Unused
| 1.0333 |  | 1.0892 |  | 1.1649 |  | --- |  | --- |  | ---
| 0.47105 |  | 0.52692 |  | 0.60269 |  | --- |  | --- |  | ---
| 60.8883 |  | 69.7941 |  | 81.8731 |  | --- |  | --- |  | ---
F |  | Unknown27 |  | Unknown34 |  | Unknown41 |  | Unused |  | Unused |  | Unused
| 0.99772 |  | 1.0307 |  | 1.2379 |  | --- |  | --- |  | ---
| 0.43545 |  | 0.46842 |  | 0.67566 |  | --- |  | --- |  | ---
| 55.2133 |  | 60.4693 |  | 93.5067 |  | --- |  | --- |  | ---
G |  | Unknown28 |  | Unknown35 |  | Unknown42 |  | Unused |  | Unused |  | Unused
| 1.4775 |  | 1.151 |  | 1.1829 |  | --- |  | --- |  | ---
| 0.91523 |  | 0.58871 |  | 0.62062 |  | --- |  | --- |  | ---
| 131.698 |  | 79.6454 |  | 84.7323 |  | --- |  | --- |  | ---
H |  | Standard4 |  | Standard5 |  | Blank1 |  | Unused |  | Unused |  | Unused
| 0.58663 |  | 0.94307 |  | 0.56226 |  | --- |  | --- |  | ---
| 0.024367 |  | 0.38081 |  | 0 |  | --- |  | --- |  | ---
| 0 |  | 46.502 |  | 0 |  | --- |  | --- |  | ---
Key: | Absorbance @ 450 (1.0s)
Absorbance @ 450 (1.0s)
Concs.