Microbial Community Sampling at Taylor Shellfish in Quilcene, WA

Sampling Plan: To sample the microbial communities at various water intake/processing points in conjunction with routine weekly environmental sampling.

Methods:

Sampling Locations

- Water intake point in the bay

- Post-treated pre-algae water

- Post-treated water + algae

- Larval tank water

Each sample should be 300 mL to 1 L, depending on feasibility of sampling max volume.

Each sample should be taken in duplicate, i.e. 2 samples from each of the 4 locations on each weekly sampling day (n=8 for each day).

**Water samples should be filtered and stored at -20C as soon as possible.**

General Protocol

- Collect water in a sterile glass or plastic container.

- Vacuum filter water sample through a Millipore 0.2 um filter paper.

- Add fixative to sample side of filter paper.

- Fold filter paper with sample side on the interior and put in 2 mL screw cap tube.  Label tube with date, water source location, and replicate.

- Store tubes in sample box in freezer at -20 C.