## (1) Overview
Assay Protocol Name: | adrenaline
Instrument: | VICTOR
Readings: | Endpoint: Absorbance @ 450 (1.0s) [12x8]
Well Types: |  | Unused | Unknown | Standard | Control
Plate:
Transformations: | Standard Curve Fit (Four Parameter, Tolerance = 0.0001, maximum iterations = 10,000. on Standard)
%CV (Calculates %CV of Concs.)

## (2) Standards Graph
Standards Graph

## (3) Fit Results
EC(20) | 1.6356
EC(50) | 6.6365
EC(80) | 26.9274
MSE | 0.0028609
R² | 0.9805
SS | 0.034331
SYX | 0.065509
a | 0.48261
b | 0.98981
c | 6.6365
d | 1.6656
Fit Results

## (4)
Groups |  | Wells | Concentrations | Absorbance @ 450 (1.0s)
| Standard1 | A1 | 0 | 1.6516
| Standard1 | A2 | 0 | 1.6546
| Standard2 | B1 | 0.45 | 1.5582
| Standard2 | B2 | 0.45 | 1.632
| Standard3 | C1 | 1.5 | 1.3937
| Standard3 | C2 | 1.5 | 1.5584
| Standard4 | D1 | 4.5 | 1.1414
| Standard4 | D2 | 4.5 | 1.1322
| Standard5 | E1 | 15 | 0.82972
| Standard5 | E2 | 15 | 0.94683
| Standard6 | F1 | 45 | 0.62017
| Standard6 | F2 | 45 | 0.62138
Data Points for Four Parameter, Tolerance = 0.0001, maximum iterations = 10,000. on Standard

## (5) Results Table
Group |  | Wells | Absorbance @ 450 (1.0s) | Concs. | %CV | %diff or correction factor | conc. of sample | average | sterr
| Standard1 | A1, A2 | 1.65155, 1.65459 | 0.067609 | 17.5745 | #DIV/0!
| Standard2 | B1, B2 | 1.55825, 1.63196 | 0.41685 | 77.9353 | -0.073658
| Standard3 | C1, C2 | 1.39371, 1.5584 | 1.3006 | 71.2257 | -0.13292
| Standard4 | D1, D2 | 1.14138, 1.13217 | 5.3534 | 2.251 | 0.18965
| Standard5 | E1, E2 | 0.829721, 0.94683 | 13.2236 | 31.0386 | -0.11843
| Standard6 | F1, F2 | 0.620171, 0.621377 | 51.2417 | 0.7061 | 0.1387
| Unknown1 | SB01 | 1.6823 | 0 | NA | 0.044444 | 0 | 0.034572 | 0.0065974 | unstressed
| Unknown2 | SB03 | 0.83133 | 16.0194 | NA | 0.04 | 0.64078
| Unknown3 | SB05 | 1.4847 | 1.1773 | NA | 0.04 | 0.047091
| Unknown4 | SB06 | 1.5626 | 0.61755 | NA | 0.04 | 0.024702
| Unknown5 | SB08 | 1.5361 | 0.79805 | NA | 0.04 | 0.031922
| Unknown6 | SB21 | 1.4634 | 1.3457 | NA | 0.04 | 0.05383 | 0.059648 | 0.019481 | stressed
| Unknown7 | SB22 | 1.6118 | 0.30626 | NA | 0.04 | 0.01225
| Unknown8 | SB23 | 1.4886 | 1.1468 | NA | 0.04 | 0.045871
| Unknown9 | SB24 | 1.2727 | 3.2766 | NA | 0.04 | 0.13106
| Unknown10 | SB25 | 1.4591 | 1.3807 | NA | 0.04 | 0.055227
| Control1 | expected 2.25 | 1.3745 | 2.1406 | NA | 1 | 2.1406
| Control2 | expected 11.25 | 1.0031 | 8.4669 | NA | 1 | 8.4669

## (6) Plate 1
| 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6
A |  | Standard1 |  | Standard1 |  | Unknown3 |  | Unused |  | Unused |  | Unused
| 1.6516 |  | 1.6546 |  | 1.4847 |  | --- |  | --- |  | ---
| 0.07601 |  | 0.059207 |  | 1.1773 |  | --- |  | --- |  | ---
| 17.5745 |  | 17.5745 |  | --- |  | --- |  | --- |  | ---
B |  | Standard2 |  | Standard2 |  | Unknown4 |  | Unused |  | Unused |  | Unused
| 1.5582 |  | 1.632 |  | 1.5626 |  | --- |  | --- |  | ---
| 0.64658 |  | 0.18713 |  | 0.61755 |  | --- |  | --- |  | ---
| 77.9353 |  | 77.9353 |  | --- |  | --- |  | --- |  | ---
C |  | Standard3 |  | Standard3 |  | Unknown5 |  | Unused |  | Unused |  | Unused
| 1.3937 |  | 1.5584 |  | 1.5361 |  | --- |  | --- |  | ---
| 1.9557 |  | 0.64557 |  | 0.79805 |  | --- |  | --- |  | ---
| 71.2257 |  | 71.2257 |  | --- |  | --- |  | --- |  | ---
D |  | Standard4 |  | Standard4 |  | Unknown6 |  | Unused |  | Unused |  | Unused
| 1.1414 |  | 1.1322 |  | 1.4634 |  | --- |  | --- |  | ---
| 5.2682 |  | 5.4386 |  | 1.3457 |  | --- |  | --- |  | ---
| 2.251 |  | 2.251 |  | --- |  | --- |  | --- |  | ---
E |  | Standard5 |  | Standard5 |  | Unknown7 |  | Unused |  | Unused |  | Unused
| 0.82972 |  | 0.94683 |  | 1.6118 |  | --- |  | --- |  | ---
| 16.1258 |  | 10.3213 |  | 0.30626 |  | --- |  | --- |  | ---
| 31.0386 |  | 31.0386 |  | --- |  | --- |  | --- |  | ---
F |  | Standard6 |  | Standard6 |  | Unknown8 |  | Unused |  | Unused |  | Unused
| 0.62017 |  | 0.62138 |  | 1.4886 |  | --- |  | --- |  | ---
| 51.4976 |  | 50.9859 |  | 1.1468 |  | --- |  | --- |  | ---
| 0.7061 |  | 0.7061 |  | --- |  | --- |  | --- |  | ---
G |  | Control1 |  | Unknown1 |  | Unknown9 |  | Unused |  | Unused |  | Unused
| 1.3745 |  | 1.6823 |  | 1.2727 |  | --- |  | --- |  | ---
| 2.1406 |  | --- |  | 3.2766 |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
H |  | Control2 |  | Unknown2 |  | Unknown10 |  | Unused |  | Unused |  | Unused
| 1.0031 |  | 0.83133 |  | 1.4591 |  | --- |  | --- |  | ---
| 8.4669 |  | 16.0194 |  | 1.3807 |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12
A |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
B |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
C |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
D |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
E |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
F |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
G |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
H |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused |  | Unused
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
| --- |  | --- |  | --- |  | --- |  | --- |  | ---
Key: | Absorbance @ 450 (1.0s)
Concs.
%CV

## (7) Flagging Details
Data Point |  | Flagged By | Reason
| Unknown1 | Standard Curve Fit (Four Parameter, Tolerance = 0.0001, maximum iterations = 10,000. on Standard) | When finding X value for Y = 1.68231, Y is > the valid range of the curve
| Unknown3 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.
| Unknown4 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.
| Unknown5 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.
| Unknown6 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.
| Unknown7 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.
| Unknown8 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.
| Control1 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.
| Unknown1 | %CV (Calculates %CV of Concs.) | The required input data point G2 (Unknown1) was flagged (Y is > the valid range of the curve)
| Unknown9 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.
| Control2 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.
| Unknown2 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.
| Unknown10 | %CV (Calculates %CV of Concs.) | Could not evaluate: "pcv([g])" - The "pcv" operation requires two or more list elements.