## Sheet1
|  |  |  | OD @ 620 nm | cfu/mL
|  |  |  | 0.048 | 25000000
|  |  |  | 0.07 | 25000000
|  |  |  | 0.12 | 10000000
|  |  |  | 0.13 | 100000000
|  |  |  | 0.29 | 200000000
|  |  |  | 0.31 | 500000000
|  |  |  | 0.485 | 1119000000
|  |  |  | 0.505 | 800000000
|  |  |  | 0.501 | 800000000
|  |  |  | 0.78 | 1840000000
|  |  |  | 0.79 | 2150000000
|  |  |  | 0.79 | 1950000000
|  |  |  | 0.95 | 2500000000
*This growth curve was measured per Karen's old method of washing bacterial culture twice before measuring spec @ OD of 620nm.
*New agreed method with Dr Richard's (also my earlier suggested idea) is to NOT wash the bacterial culture because the protease is a necessary virulence factor, which activity is important in the plate assays. However, not washing the bacteria gives a greater range in bacterial concentration in respect to optical density. Here is an example of the past 2 plate assays data when the bacteria was not washed:
OD @ 620 nm | Estimated conc. (cfu/mL) | Actual conc. (cfu/mL) | It may be necessary to measure a new growth curve for X00-12-1 if the continued method will be to not wash the bacterial culture in future testing.
0.8 | 2000000000 | 1880000000
0.95 | 2300000000 | 1210000000

## Sheet2
Calculations |  | y = 3E9x - 3E8
Nanodrop absorbance at 620 nm | CFU
0.159 | 177000000
0.147 | 141000000
0.15 | 150000000
0.152 | 156000000 | AVERAGE