Freshwater Ambient Monitoring Use Cases

7/30/2026 5:09 AM

Create Station	3

Update Station Information	6

Delete Station	8

View Station Information	10

Create Trip Record	12

Delete Trip Record	15

Update Trip Record	17

View Trip Record	19

Upload Continuous data	21

Enter Discrete Results	24

View Logger Usage	26

Calculate Summary Statistics	28

QA/Correct Data	30

View Data Edits	33

Undo Data Edits	35

Export Continuous Data Internally	37

Export Calculated Summaries to EIM	39

Export Continuous Data to the Web	42

View Data	44

- Notes:

- If this ends up being a separate system from EIM, the overlap of study/station/results will need to be able to communicate with each other.  We don’t want people having to enter their stations in two places in order to submit both their continuous and non-continuous data.  The same idea is true when it comes to viewing data.

- Export functions are broken up because that is how they have been doing things in the past.  Root functionality is to be able to export data internally and externally via the inter/intranet.  Formats include; cont. interval data, calculated summaries, graphically, etc.

- Current system documentation can be found here.

| UC-01 | - Create Station | DRAFT |
| --- | --- | --- |

Create a station within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has rights to create a station. Station information is readily available. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to create a new station - System displays blank editable station information entry fields - Data Administrator populates new station information and saves - System displays summary of new station information and requests confirmation - Data Administrator confirms station information - System saves new station information Extensions: 3a. A required field is missing or invalid - System prompts Data Administrator to enter required fields or valid data - Data Administrator enters the missing data and/or valid data - Continues to event #4 5a. New station information is not correct - Data Administrator chooses to further edit the new station information - System displays the new station information in an editable format - Return to event #3

| Notes | Date Added |
| --- | --- |
| Station Explanation: | 08/01/2008 |
| Currently, there are two databases at work. One is the River and Stream database and the second is the Ambient monitoring continuous database. The River and Stream database is where the Station Information is pulled from. There aren’t any stations that are continuous stations that aren’t in the River and Stream database. If there were, it would still be created, updated, and possibly deleted from the River and Stream database, and then the new station information would be pulled into the continuous database. |  |
| Despite having many additional ‘Station Information’ that can be entered, the minimum ‘Station Information’ required to be able to enter data include: an ID (auto generated and cannot be changed), Station Code** and Station Name. | 08/01/2008 |
| **Currently the Station Code is the same identifier that will be used when exporting to EIM |  |
| If outside users needed to use this system to submit their data, additional Station Information functionality (create, update, and delete) would have been put in place. | 08/01/2008 |
| There is a desire for outside users to be able to enter their own data, and therefore would need to be able to enter their own station information | 08/08/2008 |

| UC-02 | - Update Station Information | DRAFT |
| --- | --- | --- |

Update station information of an existing station within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has update rights to the station. Station already exists within the system. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to update a station’s information - System displays editable station information - Data Administrator makes one or many edit(s) to station information and saves - System displays summary of station information and asks for confirmation - Data Administrator confirms station information - System saves updated station information Extensions: 3a. A required field is missing or invalid - System prompts Data Administrator to enter required fields or valid data - Data Administrator enters the missing data and/or valid data - Continues to event #4 5a. Updated station information is not correct - Data Administrator chooses to further edit the updated station information - System displays the updated station information in an editable format - Return to event #3

| Notes | Date Added |
| --- | --- |
| Station Explanation: | 08/01/2008 |
| Currently, there are two databases at work. One is the River and Stream database and the second is the Ambient monitoring continuous database. The River and Stream database is where the Station Information is pulled from. There aren’t any stations that are continuous stations that aren’t in the River and Stream database. If there were, it would still be created, updated, and possibly deleted from the River and Stream database, and then the new station information would be pulled into the continuous database. |  |
| If outside users needed to use this system to submit their data, additional Station Information (create, update, and delete) would have been put in place. | 08/01/2008 |
| Event #1 (Search Options) | 09/10/2008 |
| Search options will need to be available for defining which station. |  |

| UC-03 | - Delete Station | DRAFT |
| --- | --- | --- |

Delete an existing station within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User is logged in. Station exists within the system. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to delete a station - System displays summary station information and requests confirmation - Data Administrator confirms station delete - System deletes station Extensions: 1a. Data are associated with the station that is being deleted - System displays an informative message explaining that stations that already have data associated with them cannot be deleted. - Use Case ends

| Notes | Date Added |
| --- | --- |
| Station Explanation: | 08/01/2008 |
| Currently, there are two databases at work. One is the River and Stream database and the second is the Ambient monitoring continuous database. The River and Stream database is where the Station Information is pulled from. There aren’t any stations that are continuous stations that aren’t in the River and Stream database. If there were, it would still be created, updated, and possibly deleted from the River and Stream database, and then the new station information would be pulled into the continuous database. |  |
| Cannot delete a station for which a “trip record” exists | 08/01/2008 |
| If outside users needed to use this system to submit their data, additional Station Information (create, update, and delete) would have been put in place. | 08/01/2008 |
| Event #1 (Search Options) | 09/10/2008 |
| Search options will need to be available for defining which station. |  |

| UC-04 | - View Station Information | DRAFT |
| --- | --- | --- |

View information of an existing station within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: System User | Stakeholders: |
| Preconditions: User has read rights to the station. Station exists within the system. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - System User chooses to view a station’s information - System displays read only station information Extensions:

| Notes | Date Added |
| --- | --- |
| Event #1 (Search Options) | 09/10/2008 |
| Search options will need to be available. |  |
| Internal and external users should be able to view station information. | 09/10/2008 |

| UC-05 | - Create Trip Record | DRAFT |
| --- | --- | --- |

Create a trip record within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has rights to create a trip record. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to create a trip record - System displays blank editable trip record fields - Data Administrator populates trip record fields and saves - System displays summary of trip record information and requests confirmation - Data Administrator confirms new trip record information - System saves new trip record Extensions: 3a. A required field is missing or invalid - System prompts Data Administrator to enter required fields or valid data - Data Administrator enters the missing data and/or valid data - Continues to event #4 5a. New trip record information is not correct - Data Administrator chooses to further edit the new trip record information - System displays the new trip record information in an editable format - Return to event #3

| Notes | Date Added |
| --- | --- |
| Currently data cannot be uploaded to the system without an associated trip record created. The function of this structure is to provide a place to enter the metadata associated with the continuous data uploads. | 08/01/2008 |
| Trip Explanation: | 08/01/2008 |
| There is 1 tidbit and 1 station per trip, and a trip represents 1 water year. (one downloaded file per trip). This may change when Bill Ward starts doing year round monitoring. If a duplicate tidbit was deployed, a second trip would need to be created under the same station code. |  |
| Trip Information: | 08/01/2008 |
| Station Code, Deployment Dates, data logger ID (serial number), Global Data Codes (Duplicate), Discrete sample(s) (deploy and retrieval measurements, any spot measurements taken between the trip start/end date), etc… |  |
| Data associated with a trip record take on the “remark”, quality/QC codes at data upload. (Each continuous record uploaded to the trip will have these codes) | 08/01/2008 |

| UC-06 | - Delete Trip Record | DRAFT |
| --- | --- | --- |

Delete an existing trip record within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has update rights to trip record. Trip record exists within the system. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to delete a trip record - System displays summary of trip record information and requests deletion confirmation - Data Administrator confirms trip record deletion - System deletes trip record Extensions: 1a. Data are associated with the trip record that is trying to be deleted. - System displays an informative message explaining to the Data Administrator that data are associated with the trip they are trying to delete and that the data will need to be removed before trip deletion can continue. - Use Case ends.

| Notes | Date Added |
| --- | --- |
| Cannot delete a trip record if data are associated with it. | 08/01/2008 |

| UC-07 | - Update Trip Record | DRAFT |
| --- | --- | --- |

Update an existing trip record within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has update rights to trip record. Trip record exists within the system. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to update a trip record - System displays populated editable trip record fields - Data Administrator edits one or many trip record field(s) and saves - System displays summary trip record information and requests confirmation - Data Administrator confirms trip record update - System saves updated trip record information Extensions: 3a. A required field is missing or invalid - System prompts Data Administrator to enter required fields or valid data - Data Administrator enters the missing data and/or valid data - Continues to event #4 5a. Updated trip record information is not correct - Data Administrator chooses to further edit the new trip record information - System displays the new trip record information in an editable format - Return to event #3

| Notes | Date Added |
| --- | --- |
| Trip Information can be updated even after data are associated. However, “remarks” and quality codes will not change on the individual uploaded records when changed in the trip information (only the QA/QC qualifiers and remarks at initial upload get associated with the data, you have to delete and re-load if you want to change those) | 08/01/2008 |

| UC-08 | - View Trip Record | DRAFT |
| --- | --- | --- |

View trip record details within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: System User | Stakeholders: |
| Preconditions: User has view/read rights to trip record. Trip record exists within the system. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - System User chooses to view a specific trip’s information - System displays specified trip information Extensions:

| Notes | Date Added |
| --- | --- |
| Search options would need to be available for the System User to define which trip record they want to view. | 08/25/2008 |

| UC-09 | - Upload Continuous data | DRAFT |
| --- | --- | --- |

Upload continuous data in association with a trip record.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has update rights to the data. Station and trip record exists within the system. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to upload continuous data for a specific trip record - System displays continuous data upload options and entry fields - Data Administrator defines upload options, populates entry fields and uploads - System saves data to the database Extensions: 3a. A required field is missing or invalid - System prompts Data Administrator to enter required fields or valid data - Data Administrator enters the missing data and/or valid data - Continuous to event #4

| Notes | Date Added |
| --- | --- |
| Upload .txt files that Boxcar/Hoboware creates. (multiple formats accepted depending on type/model of tidbit.) Telemetry data via “GOES” system (used mostly to make sure the device is still recording). Discrete measurements will also be entered during cont. data upload. | 08/01/2008 |
| Not currently part of the system, but a desire, would be to have the raw uploaded data stored in a “raw data repository” and then do any subsequent work off of a copy of the raw data. | 08/01/2008 |
| Data Currently Saved in the System: | 08/01/2008 |
| Corrected Raw, Daily values, Annual values. |  |
| Time shift options are also available during the upload step that allow for time corrections that may have occurred due to the thermistor being set incorrectly. | 08/11/2008 |
| The current system combines upload of continuous data and QA/correction steps (which may be a good way to do it). Once the file path gets established and imported to the system, the system graphically displays the dataset. The Data Administrator then has the options to trim erroneous data, pre-install and post-removal data points, etc. Once the data trim takes place the data is saved into the database. | 08/11/2008 |
| Not currently in practice, but there is a desire for external users to be able to user a similar continuous data system to enter their data. | 08/11/2008 |
| Types: | 10/16/2008 |
| Water Temperature, Air Temperature? (used mostly to check the water temperature datasets) |  |

| UC-10 | - Enter Discrete Results | DRAFT |
| --- | --- | --- |

Enter discrete sample or measurement results into the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has update rights to data. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to enter individual sample or measurement results - System displays blank entry fields - Data Administrator populates entry fields with one or many discrete record(s) - System saves entered discrete results Extensions: 3a. A required field is missing or invalid - System prompts Data Administrator to enter required fields or valid data - Data Administrator enters the missing data and/or valid data - Continues to event #4

| Notes | Date Added |
| --- | --- |
| Currently, this option exists in the Trip Information menu. There is an option associated with each trip that allows the user to enter any number of discrete measurement results at the same time they are uploading continuous datasets. | 08/01/2008 |

| UC-11 | - View Logger Usage | DRAFT |
| --- | --- | --- |

View the number of records recorded by an individual logger

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User view/read rights to logger records. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: 1. Data Administrator chooses to view the logger count of a device 2. System displays search options that allow the Data Administrator to choose one or many tidbits 3. Data Administrator enters search parameters (search all should be an option) 4. System displays results based on Data Administrator’s search. Extensions: 3a. A required field is missing or invalid - System prompts Data Administrator to enter required fields or valid data - Data Administrator enters the missing data and/or valid data - Continues to event #4

| Notes | Date Added |
| --- | --- |
| This is simply a query tool that tracks the count of records each tidbit serial number has logged (counting based on the number of records saved in the system associated with that serial number). It produces a report that is manually reviewed to determine which tidbits still have battery life, and which should be tossed. | 08/01/2008 |

| UC-12 | - Calculate Summary Statistics | DRAFT |
| --- | --- | --- |

Calculate the summary statistics from the continuous interval data within the system

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has update rights to the data. Continuous interval data exists within the system. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to calculate summary statistics - System displays search options to stipulate which data to process - Data Administrator populates search options - System displays continuous interval data based on search options - Data Administrator confirms the request to calculate summary statistics - System calculates summary statistics and saves Extensions: 3a. A required field is missing or invalid - System prompts Data Administrator to enter required fields or valid data - Data Administrator enters the missing data and/or valid data - Continues to event #4

| Notes | Date Added |
| --- | --- |
| Calculated summary statistics are performed for two reasons. One many users of the data prefer data to be in this format as it is easier to use and analyze. Secondly data needs to be summarized in this manner to enter into EIM. | 08/01/2008 |

| UC-13 | - QA/Correct Data | DRAFT |
| --- | --- | --- |

QA/correct data within the system

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has update rights to the data. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to QA/correct a certain dataset - System displays dataset and associated QA/correction options - Data Administrator selects QA/correction options and performs manual corrections - System saves performed corrections and creates an edit log Extensions: 3a. A required field is missing or invalid - System prompts Data Administrator to enter required fields or valid data - Data Administrator enters the missing data and/or valid data - Continues to event #4

| Notes | Date Added |
| --- | --- |
| Automatic corrections mentioned in Dave’s documentation | 08/01/2008 |
| - Writes to a specified file any temperature result exceeding the nearest QC check by more than a specified amount. - Writes to a specified file any temperature result exceeding its neighbor by more than a specified amount. - Opens the form “frmCalibCheck,” which allows batch-loading tidbit calibration check results. - Reports data gaps during critical time periods. |  |
| Manual corrections: | 08/01/2008 |
| Bias correction (based on calibration results, or field measured discrete samples), qualifier codes, Pre-deployment/Post-removal data points, Air temperature recording due to water level drop, |  |
| Search Options: | 08/01/2008 |
| Pick station, pick date ranges , system displays data, you manually edit record(s) |  |
| Non-continuous temperature data are able to be pulled from the river and stream database (or other places for that matter) for QA purposes. | 08/15/2008 |
| Corrections that are done to data within the system need to be tracked and saved | 08/15/2008 |

| UC-14 | - View Data Edits | DRAFT |
| --- | --- | --- |

View past edits to data within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has read/view rights to data edits. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to view data edits - System displays search options (Station ID, Trip, Date/Time Range, Parameter, Type, Serial Number?, Combination of… - Data Administrator enters search parameters - System returns records found based on Data Administrator’s input Extensions: 3a. A required field is missing or invalid 1. System prompts Data Administrator to enter required fields or valid data 2. Data Administrator enters the missing and/or valid data and submits 3. Continue to event #4

| Notes | Date Added |
| --- | --- |
| Data corrections, qualifiers, etc. should be logged within the system. List that one user came up with in terms of fields of importance are: Site, Start Date/Time of data edited, End Date/Time of data edited, Parameter, type of edit, type of qualifier, Date edit occurred, record count edited. Additional fields that might be useful: Notes?, user who made the edit?... | 08/18/2008 |
| The Temperature TMDL folks made mention that possibly seeing the actual results that were edited would be helpful. | 08/18/2008 |
| Event #4 should perhaps simply show a summary of the results that were found based on the search, then allow the user another event to choose the specific data they want to see based off all the results found displayed in the summary. | 08/18/2008 |

| UC-15 | - Undo Data Edits | DRAFT |
| --- | --- | --- |

Undo previously performed data edits within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has update rights to the data. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator performs “View Data Edits” use case - Data Administrator chooses one or many data edits (check boxes) and selects ‘Undo Data Edits’ - System displays summary of edit(s) that are about to be undone and requests confirmation - Data Administrator confirms edit(s) - System ‘undoes’ the edit(s) (actually returns the data to its’ prior state) and removes the edit(s) from the list of data edits. Extensions: 4a. Data Administrator recognizes a problem with the edit(s) that are about to be undone. 1. Data Administrator chooses to cancel ‘undo’ 2. System displays records based on the original search parameters 3. Return to Event #2

| Notes | Date Added |
| --- | --- |
| Possible Edits include: Flags, Qualifiers, Corrections, removals… | 08/18/2008 |

| UC-16 | - Export Continuous Data Internally | DRAFT |
| --- | --- | --- |

Export continuous data from the system for internal use.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: System User | Stakeholders: |
| Preconditions: User has view/read rights to the results. System User represents an internal user. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - System User chooses to export continuous data - System displays search options to define export needs - System User populates search options to define export needs - System creates a savable file based on System User’s needs (.xls or .txt) - System User saves continuous data export Extensions: 3a. A required field is missing or invalid 1. System prompts System User to enter required fields or valid data 2. Data Administrator enters the missing and/or valid data and submits 3. Continue to event #4

| Notes | Date Added |
| --- | --- |
| Export Needs: | 08/01/2008 |
| For what Bill needs, the only export need they talked about was the need for an excel spreadsheet based on date range/station of the continuous 30 min interval data. |  |
| Additional export functionality would likely be more useful to other users of the data. Continuous interval data, calculated daily/hourly summaries, graphs with an exceedence line, etc. | 08/01/2008 |

| UC-17 | - Upload Calculated Summaries to EIM | DRAFT |
| --- | --- | --- |

Upload calculated daily summaries to EIM.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has update rights to the data. EIM FTP upload process is pre-approved and set up. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: 1. Data Administrator selects ‘Export to EIM’ 2. System displays search options 3. Data Administrator stipulates the data to export 4. System populates a file to upload to EIM and displays 5. Data Administrator confirms data upload 6. System sends (via FTP) a file to EIM holding area for automatic load Extensions: 3a. A required field is missing or invalid 1. System prompts Data Administrator to enter required fields or valid data 2. Data Administrator enters the missing and/or valid data and submits 3. Continue to event #4

| Notes | Date Added |
| --- | --- |
| Functionality may not be needed after a new continuous monitoring database is created | 10/14/2008 |
| Currently not exported to the result .xls template, but instead uses a FTP to enter into a holding area that gets loaded every day at 2pm or something like that. | 08/01/2008 |
| Event #4: | 08/06/2008 |
| The system may require the user to go through the ‘calculate summary statistics’ step prior to exporting to EIM. Either way somewhere along the line the system needs to be able to take the raw continuous data files, and calculate daily values (avg,max,min) for this step. |  |
| Calculated Summaries may not be going to EIM after this system gets built. The idea is to get this data to the public (may not need to be in EIM), but it currently goes into EIM. If EIM is not part of this future system, just be aware that there is a need to get raw interval and calculated daily values out to the public. | 08/06/2008 |
| The current system has batch load procedures to load data from Excel spreadsheets. Data that can be loaded via excel batch includes stations and trips. |  |

| UC-18 | - Export Continuous Data to the Web | DRAFT |
| --- | --- | --- |

Export continuous data to the web.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: Data Administrator | Stakeholders: |
| Preconditions: User has update rights to the data. Data has been entered into the system. | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - Data Administrator chooses to upload continuous data to the web - System displays web upload options - Data Administrator stipulates web upload options - System uploads data to the web (continuous interval data, .txt output in a .zip file) Extensions: 3a. A required field is missing or invalid 1. System prompts Data Administrator to enter required fields or valid data 2. Data Administrator enters the missing and/or valid data and submits 3. Continue to event #4

| Notes | Date Added |
| --- | --- |
| Currently: | 08/01/2008 |
| - Only continuous data available for download via the web comes in a .zip file with .txt files. - Only corrected raw data in the export, not calculated values (daily summaries etc.). - Graphical representation of the data is posted annually by Dave and is a static object |  |
| Desired: | 10/09/2008 |
| Searchable results based on study/trip/station/map area/etc. Exports should be able to be downloaded in a .csv or .xls with multiple files giving not only results but also meta data including study/trip/station information, graphical exports, calculated summary data, etc… |  |
| The root function of this is to have data available to the public via the internet so that they can download a result set. | 10/09/2008 |

| UC-19 | - View Data | DRAFT |
| --- | --- | --- |

View data within the system.

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: System User | Stakeholders: |
| Preconditions: Data exists within the system. User has read rights to the data | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: - System User chooses to view data within the system - System displays search options to define data needs - System User populates search options - System displays results based on System User’s search Extensions: 3a. A required field is missing or invalid 1. System prompts Data Administrator to enter required fields or valid data 2. Data Administrator enters the missing and/or valid data and submits 3. Continue to event #4

| Notes | Date Added |
| --- | --- |
| Who is viewing: | 08/06/2008 |
| Internal and external users should be able to view data that has been entered into the system. |  |
| How are they viewing: | 08/06/2008 |
| Results will be viewable via the web. Internal users may have additional ways of viewing data within the system (on the ECY intranet) |  |
| Search Options: | 08/06/2008 |
| Search options will need to be available for the user to search on basically anything that could help define the data they want to view. |  |
| Format: | 08/06/2008 |
| Continuous interval, calculated daily/hourly summaries, graphically, etc… |  |

| UC-01 |  | DRAFT |
| --- | --- | --- |

| Details |  |
| --- | --- |
| Parent: Continuous Data Scoping |  |
| Primary Actor: | Stakeholders: |
| Preconditions: | Success Guarantee: |
| Type: | Complexity: |
| Use Case Status: | Implementation Status: |
| Assigned To: | Release: |

Flow of Events

Main Success Scenario: Extensions:

| Notes | Date Added |
| --- | --- |